## Slide 1: X-Ray Machine Simulation for Leg Phantom
A COSC 4372 Project: Fundamentals of Medical Imaging

## Slide 2: Introduction
This project aims to simulate a virtual X-ray system that mimics traditional X-ray imaging.
Key Objectives:
- Develop a 3D leg phantom for testing and validation.
- Allow parameter adjustments such as beam energy, angle, and distance.
- Provide an interactive GUI to explore imaging effects.

## Slide 3: Why X-Ray and Leg Phantom?
X-rays are essential for medical diagnostics due to their ability to visualize internal structures like bone and soft tissue.
Leg Phantom Selection:
- Cylindrical structure simplifies modeling.
- Allows clear differentiation between bone and soft tissue attenuation values.

## Slide 4: Methods
1. Phantom Generation:
- Create a 3D matrix with regions for bone (attenuation = 2 and soft tissue (attenuation = 1).
2. Parameter Adjustments:
- Control beam energy, source angle, and distance via GUI.
3. Image Simulation:
- Simulate X-ray projections by summing attenuation values.
4. Contrast and Angle Analysis:
- Analyze contrast and visualize projections under varying conditions.

## Slide 5: Results
Key Observations:
  Clear visualization of bone and soft tissue differentiation.
  Orthogonal and angled splits demonstrate attenuation effects.
  GUI allows real-time adjustments and immediate visualization.

## Slide 6: Code Overview
Main Components:
- Phantom Generation: Generates a 3D matrix for bone and soft tissue.
- Adjustments: GUI for modifying beam energy, angle, and distance.
- Analysis: Contrast calculation and angle projection simulations.
Languages/Libraries Used:
- Python, NumPy, Matplotlib, SciPy, Tkinter.

## Slide 7: GUI and Simulation
Interactive Features:
- Beam energy adjustments affect attenuation values.
- Source distance controls intensity.
- Angle settings provide rotational projections.
Real-time visualization aids learning and parameter optimization.

## Slide 8: Conclusion
The virtual X-ray simulation successfully demonstrates key imaging principles.
Educational Outcomes:
- Enhances understanding of imaging parameters.
- Demonstrates effects of contrast and angle variations.
Provides a hands-on tool for exploring medical imaging techniques.